## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Transformers(4106) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give three points of comparison between power transformer and distribution transformer. |  |
| b) | Draw the phasor diagram of transformer on “No load” and explain it briefly. |  |
| c) | Why rating of transformer is given in terms of KVA? |  |
| d) | List the different methods used for reducing leakage flux. |  |
| e) | Give the various conditions necessary for parallel operation of two or more transformers. |  |
| f) | Define all day efficiency. What is its significance? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain working principle of transformer. |  |
| b) | A 500 KVA, 11000V/400V, 50 Hz single phase transformer has 100 turns on the secondary winding. Calculate: i) Approximate number of turns in primary winding ii) Approximate value of primary and secondary current iii) Maximum value of flux in the core. |  |
| c) | List different parts of transformer. Explain function of any four parts. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the construction and operation of “OFF load tap changer”. |  |
| b) | With a neat phasor diagram explain working of transformer on load for i) Resistive load ii) Inductive load. |  |
| c) | A 50KVA, 4400/220V transformer has R1 = 3.45Ω, R2 = 0.009Ω, the values of reactances are X1 = 5.2Ω and X2 = 0.015Ω. Calculate: i) Equivalent resistance as referred to primary ii) Equivalent reactance as referred to primary iii) Equivalent Impedance as referred to primary. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw and explain equivalent circuit of transformer referred to secondary side. |  |
| b) | Define the term voltage regulation. Give equation for voltage regulation and derive the condition for maximum voltage regulation. |  |
| c) | Explain different losses taking place in transformer. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the effect of frequency and voltage variation on transformer. |  |
| b) | List different phasor groups formed by transformer winding connections. With a neat phasor and connection diagram explain any two groups of your choice. |  |
| c) | Give advantages and disadvantages of parallel operation of transformer. | …..2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail the construction and working of autotransformer. |  |
| b) | Write short a note on welding transformer. |  |
| c) | Two singles phase transformers with equal turns have impedances of (0.5 + j3)Ω and (0.6 + j10)Ω with respect to the secondary. If they operate in parallel, determine how they will share a total load of 100KW at power factor of 0.8 lagging. |  |

***********