## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(EE501)/(4110) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List any three types of faults occurring on transmission lines. State their frequency of occurrence. |  |
| b) | Briefly explain the use of current limiting reactor. State its one advantage and one disadvantage. |  |
| c) | What is a fuse? State any five properties a fuse element should posses. |  |
| d) | State any two advantages and one disadvantage of rewireable fuse. |  |
| e) | Briefly explain how arc is interrupted in DC circuits. |  |
| f) | For relays explain: i) Pick up current ii) PSM. |  |
| g) | Explain terms: i) Back up protection ii) Through fault |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of MCB. Also draw its characteristics. |  |
| b) | With a neat diagram explain arc extinction in minimum oil circuit breaker. State in two disadvantages. |  |
| c) | With a neat diagram explain construction and working of axial blast type ABCD. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain concept of HVDC circuit breaker. |  |
| b) | State advantages of arc extinction in vacuum. Briefly explain Vacuum Circuit Breaker. |  |
| c) | With a neat diagram explain working of puffer type SF6 circuit breaker. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain working of Bucholz relay. |  |
| b) | State any six advantages of static relay. With a neat block diagram explain static differential relay. |  |
| c) | Explain construction and working of Induction type reverse power relay. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain differential protection of bus bars. |  |
| b) | Explain time graded protection of transmission lines. State its disadvantages. |  |
| c) | Give all the formulas used and state the steps for calculating short circuit MVA and short circuit current for symmetrical fault on redial system. |  |
| d) | With a neat diagram explain generator stator protection. students of old scheme) | (only for |
|  |  | ……2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain protection of motors for: - Unbalanced condition - overload |  |
| b) | With a neat diagram explain biased differential protection for three phase star-delta transformer. |  |
| c) | Give and six points of comparison between rewireable fuse and HRC fuse. |  |
| d) | With a neat diagram explain carrier current protection scheme. (only for students of old scheme) |  |

***********