## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/c(5090) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

4) Use of Psychrometric chart is permissible.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define coefficient of performance of a Refrigeration system. |  |
| b) | State the function of expansion device in a vapour compression cycle. |  |
| c) | Sketch the flow diagram of a simple vapour absorption system. |  |
| d) | State the main disadvantage of an air cooled condenser. |  |
| e) | Define WBT and DBT related to psychometry. |  |
| f) | Define RHSF and GSHF. |  |
| g) | Name the various components and controls used in Air conditioning. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How a standard rating of a refrigeration machine is obtained? Also state Clausius statement and Kelvin Planck statement. |  |
| b) | Explain Green House Effect. State the properties and uses of R-134A refrigerant. |  |
| c) | Explain theoretical vapour compression cycle with superheated vapour before compression, using a T-S & P-H diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of an ice plant with a neat sketch. |  |
| b) | Name the components/parts of simple vapour absorption system and state its functions. |  |
| c) | Explain the flooded type of evaporator with a neat sketch. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the function of air filter? With a neat sketch explain any air filter used in air conditioners. |  |
| b) | Write a note on Automatic temperature control. |  |
| c) | State the advantages and disadvantages of central air conditioning over window air conditioning. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define the following: - Specific humidity 2) Absolute humidity 3) Relative humidity 4) Dew point temperature. |  |
| b) | With the help of psychrometric chart explain the following processes: 1) Sensible heating 2) Heating and dehumidification. |  |
| c) | State the advantages and disadvantages of different types of compressors used in Refrigeration system. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Factors affecting the performance of vapour compression system |  |
|  | -2- |  |
| b) | Electrolux Refrigerator |  |
| c) | Cold storage |  |
| d) | Limit switches in Air conditioning system |  |

***********