## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Generation, Transmission & Distribution(EE304)/(5091)

[Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define diversity factor and load factor. |  |
| b) | What do you mean by corona? State any two disadvantages of corona. |  |
| c) | Draw and explain in brief DC 2 wire distribution system. |  |
| d) | Give any three IE rules relevant to domestic wiring. |  |
| e) | Draw a neat wiring diagram for Godown wiring. |  |
| f) | What do you mean by earthing? State the importance of earthing. |  |
| g) | List any six factors affecting earthing resistance. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of nuclear power plant and explain its principle of operation. |  |
| b) | What do you mean by electrical grid system? State its merits and demerits. |  |
| c) | Explain the generation of electrical energy using following non conventional energy sources: - Solar energy ii) tidal energy |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain the classification of transmission lines as short, medium and long lines. |  |
| b) | Explain in brief any three types of conductors used in transmission lines and state their electrical properties. |  |
| c) | A 3 phase transmission line is being supported by three disc insulators. The potential across top unit near the tower and middle unit are 8KV and11KV respectively. Calculate i) ratio of capacitance between pin and earth to self capacitance of each unit ii) line voltage and iii) string efficiency. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the advantages and disadvantage of HVDC transmission system. |  |
| b) | Compare single circuit towers with double circuit towers. |  |
| c) | With a neat diagram explain function of stag insulator. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare radial, ring and interconnected systems of distribution. |  |
| b) | Give the permissible voltage drops in various parts of distribution system for urban, semi urban and rural areas. |  |
| c) | Derive and compare AC 3 wire and AC 4 wire distribution systems based on volume of conductor material required. |  |
|  |  | ……2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare PVC casing and capping wiring with conduit wiring. |  |
| b) | i) With a neat diagram explain staircase wiring. ii) State the drawbacks of cleat wiring. |  |
| c) | With a neat diagram explain plate earthing. |  |

***********