## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Imaging(MX502) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | What is Echocardiography? Elaborate. |  |
| b) | Explain the following: i) A-scan ii) B-scan. |  |
| c) | List and explain the various advantages of NMR. |  |
| d) | Write a note explaining the dental x-ray machine. |  |
| e) | Explain about the patient dose in CT scanner. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle of MRI with the necessary diagrams. |  |
| b) | With the help of figure, explain the basic components of NMR. |  |
| c) | With the help of fig.1, explain the principle and working of an image intensifier. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different modes of transmission in ultrasound. |  |
| b) | Explain the principle, construction and working of collimators with the help of a neat diagram. |  |
| c) | Write a note on storing and documentation in the CT system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of the CT system with a neat diagram. |  |
| b) | Explain how the different generations in CT scanning one-up the previous generation. |  |
| c) | Write a note on fluoroscopy. |  |
| Q.No.5. | Answer the following Questions: |  |
| a) | With reference to Fig.1, label the figure against the tags marked. Explain the principle, construction, working and application of rotating anode tube. | (8) |
| b) | List the disadvantages of conventional x-ray over computed tomography x-ray. | (2) |
| c) | What are the disadvantages of CT scan imaging technique as compared to MRI imaging. | (2) |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain how MRI has emerged as a powerful imaging technique in the medical field. |  |
| b) | Write a note on infrared detectors. |  |
| c) | State the advantages and applications of diagnostic ultrasound. |  |
| d) | Write a note on x-ray films. |  |
| e) | List and explain the system components of the CT system. | …….2/- |