## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg./EI

Subject: Industrial Automation(EN616) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State and explain need of automation in industry. |  |
| b) | Explain in brief how automation can be applied to the following fields: i) Medical ii) Aerospace. |  |
| c) | State any three functions of PLC’s communication ports. |  |
| d) | What do you mean by sourcing and sinking input modules? |  |
| e) | Explain any two diagnostic indicators of PLC that help in detecting system malfunctions or failures. |  |
| f) | Draw the ladder diagram and explain ‘ÓSR’ instruction. |  |
| g) | Draw and explain the ladder diagram for implementing ‘ÓR’ gate using three inputs. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of PLC’s based on their type and size. |  |
| b) | Explain in brief processor scan. |  |
| c) | Write a short note on different types of PLC memory. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain working of discrete DC input module. |  |
| b) | Write a short note on i) input status file ii) output status file. |  |
| c) | Write a short note on i) Instruction list programming language ii) Ladder diagram programming language. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in brief IEC 1131-3 programming standard. Also explain structured text language in brief. |  |
| b) | Explain logical ‘ÁND’ and ‘ÓR’ instructions with the help of ladder rungs. |  |
| c) | Draw a ladder diagram for a bottle filling unit with the following processes: - The system has two motors, ‘M1’ to carry empty bottles to the fluid tank and ‘M2’ to carry filled bottles for packaging. - Motor ‘M2’ should start once ‘start’ push button is pressed and remain on till ‘stop’ push button is pressed. - Motor ‘M1’ is energised once ‘M2’ starts and stops when ‘limit switch’ detects a bottle in correct position. - Once bottle is in position and 0.5 seconds have elapsed, ‘valve’ should open and liquid is poured in the bottle. - Once ‘photoeye’ senses proper level of liquid in bottle, valve is closed and bottle remains in position for 0.7 seconds and then ‘filled bottle’ gives signal to Motor ‘M1’ to start again and process continues. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the ladder diagram and explain the following comparison instructions: - Greater than equal ii) Less than | …….2/- |
|  | -2- |  |
| b) | i) Explain in brief operation of Count Down Counter instruction. ii) Draw a ladder diagram for implementing 4:1 multiplexer. (Output Y=S1S0I0+S1S0I1+S1S0I2+S1S0I3, where Y is output, I0, I1, I2, I3 are inputs and S1 and S0 are control signals) |  |
| c) | Draw a ladder diagram for traffic control system having following conditions - Red light to turn on for 10 seconds - Green light to turn on for 20 seconds after red light goes off - Orange light to turn on for 5 seconds after green light goes off - Program should go in a loop. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a ladder diagram for temperature control system with following conditions: - A temperature control system consists of three thermostats and three heating units. - Thermostats are set for 50ºC, 55ºC, and 60ºC. - Below 50ºC all three heaters should be ON. - Between 50ºC to 55ºC any two heaters should be ON. - Between 55ºC to 60ºC any one heater should be ON. |  |
| b) | Draw the ladder diagram for following conveyor belt system. - System has three segmented conveyor belts, each segment is run by a motor. - Motor M1 starts as soon as ‘start’ button is pressed. - After 10 seconds M1 goes off and motor Ma starts. - After 5 seconds M2 goes off and M3 starts - After 10 seconds M3 goes off and M1 starts and cycle is repeated. |  |
| c) | Explain the significance of proper grounding and noise suppression techniques while installing a PLC in a plant. |  |

***********