## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Ventilator Management(MX612) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain in brief the phases of a breath. |  |
| b) | Explain in brief the setting of I:E ratio. |  |
| c) | Explain in brief “Apnea Alarm’’. |  |
| d) | Explain in brief the clinical indications for respiratory failure. |  |
| e) | What are the objectives of newborn and pediatric ventilatory support? |  |
| f) | Explain in brief Continuous Positive Airway Pressure. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare positive and negative pressure ventilators with respect to their advantages and disadvantages. |  |
| b) | Explain the following terms: - Patient circuit - Tidal Volume - PEEP |  |
| c) | Write notes on: (any two) - Classification of ventilators - Mechanics of respiration - Flow Control Valves |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the organs of respiration. |  |
| b) | Explain the terms: - Lung compliance - Inspiratory flow - Peak Airway Pressure |  |
| c) | Write notes on: - Microprocessor Controlled Ventilator - Volume – displacement devices |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the basic model of ventilation in the lung during inspiration. |  |
| b) | Explain the following: - Mandatory breaths - Spontaneous breaths - Assisted breaths |  |
| c) | Write notes on: (any two) - Continuous Mandatory Ventilation - Intermittent Mandatory Ventilation - Pressure Support Ventilation |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the setting of PEEP. |  |
| b) | Explain the setting of Tidal volume for volume targeted ventilation. |  |
| c) | Explain how you will optimize the ventilator settings for better oxygenation. |  |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.6. | Write notes on any two: | 2 x 6 = 12 |
| a) | Long Expired Minute Volume Alarm |  |
| b) | High Expired Minute Volume Alarm |  |
| c) | Upper Airway Pressure Limit Alarm |  |

***********