## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(FT406) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the common impurities present in water. |  |
| b) | What are indicator micro-organism? Give 2 examples. |  |
| c) | Discuss in brief the principle involved in the estimation of hardness of water. |  |
| d) | List three differences between COD and BOD. |  |
| e) | Discuss briefly the characteristics of fruit & vegetable waste. |  |
| f) | What is portable water? Discuss its quality. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail, with the help of a flow chart, the sewage treatment plant. |  |
| b) | Discuss the water softening methods used in water treatment. |  |
| c) | Discuss the principle involved in the estimation of alkalinity and chlorides. |  |
| Q.No.3. | How would you: | 4 x 3 = 12 |
| a) | Estimate the total solids of a water sample |  |
| b) | Determine the total plate count of water |  |
| c) | Estimate the acidity of a water sample |  |
| d) | Carry out the MPN count of a water sample |  |
| Q.No.4. | Answer the following Questions: |  |
| a) | Discuss the general uses of water for municipal & industrial purposes. | (6) |
| b) b) | Discuss in detail the physical characteristics of waste. OR Discuss in detail the routine bacteriological analysis of water. | (6) (6) |
| Q.No.5. | Write short notes on: (any 4) | 4 x 3 = 12 |
| a) | Filters in water treatment |  |
| b) | Dairy & canning waste |  |
| c) | Trickling filters |  |
| d) | Activated sludge process |  |
| e) | Disinfection methods |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a flow chart, discuss in detail a typical Water Treatment Plant. |  |
| b) | Discuss in detail the significance of residual chlorine, break point chlorination and chlorine demand in water treatment. |  |
| c) | Highlight the pollution hazards on the disposal of waste without treatment. |  |

***********