## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(MX602) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | What is the need of Anaesthesia in Medial field? |  |
| b) | Describe infusion pump with its application. |  |
| c) | What types of imaging systems are used in lithotripsy procedures and why? |  |
| d) | Explain the basic elements of an endoscope. |  |
| e) | Describe computer assisted therapy in infusion system with a neat diagram. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain vapour delivery in anaesthesia machine. |  |
| b) | What is a dialyzer? Explain their classification & working. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the mechanism of syringe pump with a neat diagram |  |
| b) | Describe the different fields of application of endoscopes. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the importance of humidification in anaesthesia machine. |  |
| b) | Describe the different methods of closed loop control in infusion systems. |  |
| Q.No.5. | Answer the following Questions: |  |
| a) | Draw the block diagram of a haemodialysis machine and explain the importance of each building block. | (8) |
| b) | What is Cystoscopy? Mention its uses. | (4) |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | What are the advantages of rigid & flexible Cystoscopes? |  |
| b) | What is Lithotripsy? |  |
| c) | Write a short note on patient circuit in anaesthesia machine. |  |
| d) | What are the benefits of using anaesthesia on the patient? |  |

***********