## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Construction-V(4532) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Under which conditions would a friction pile be used in a building? |  |
| b) | Define curtain wall. |  |
| c) | List the components of a false ceiling. |  |
| d) | List various materials used in the construction of built-in-furniture in the kitchen. |  |
| e) | What are the advantages of using elevator compared to an escalator? |  |
| f) | What are the advantages of using built-in furniture? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat labelled sketch of RCC trapezoidal combined footing. |  |
| b) | Differentiate between precast concrete piles & cast-in-situ concrete piles. |  |
| c) | Explain the pile driving method with a drop hammer. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat plan & section showing a Plaster Of Paris partition clad on an aluminum frame. |  |
| b) | Elaborate on the choice of material & type and construction of partition wall to be used for a sound recording studio. |  |
| c) | Draw a curtain wall detail in cross-section for a RCC framed structure attached to its beams at all floor levels. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short notes on: i) PVC false ceiling ii) Metal false ceiling. |  |
| b) | Draw a neat labelled diagram showing the detailing of joineries of a timber false ceiling fixed on masonry walls on four sides & a timber ceiling. |  |
| c) | Draw a neat labelled sketch of a T-Grid false ceiling using Plaster Of Paris panels. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with neat diagram the construction details of kitchen platform of 2 metres long and containing a sink. |  |
| b) | Compare between the construction details of shelves & cabinets for a showcase built into a wall. |  |
| c) | Draw a neat plan & Section across a wardrobe built into a wall showing its construction. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat labelled diagram & describe the working of an escalator. |  |
| b) | Write short notes on: i) Machine Room ii) Lift Pit. |  |
| c) | Explain the use of metals in built in furniture system using examples. |  |

***********