## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Mechanical Engg.

Subject: Power Engineering-I(4037) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data, if required.

4) Use of Psychrometric charts, Steam tables, and Mollier’s

charts is permissible.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Describe briefly ‘wind energy’. |  |
| b) | What do you understand by calorific value of fuel? |  |
| c) | What is the universal gas constant? |  |
| d) | Explain the terms (i) Total Heat and (ii) Internal Energy, as applied to steam. |  |
| e) | Why Carnot cycle cannot be considered as a theoretical cycle for steam power plants even though it has maximum efficiency? |  |
| f) | Write down the function of (i) Water level indicator (ii) Fusible plug. |  |
| g) | Write down any three points of difference between reciprocating and rotary compressors. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A coal contains by mass 81% carbon, 6% hydrogen and remainder ash. Find (i) Minimum mass of air required to burn 1 Kg of coal and (ii) the mass of products of combustion. |  |
| b) | Represent and explain following processes on P-V and T-S diagram (i) Adiabatic process (ii) Isothermal process. |  |
| c) | A gas whose pressure, volume and temperature are 500 KN/m2, 0.23m3 and 185ºC respectively has its state changed at constant pressure till its temperature becomes 70ºC. Calculate (i) the heat transferred from the gas (ii) work done and (iii) the change in internal energy at the end of the process. |  |
|  | Take R=0.29 KJ/KgK and Cp = 1.005 KJ/KgK |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Find out the internal energy of 1 Kg of steam at a pressure of 8 bar absolute when condition of steam is (i) wet and dryness fraction 0.9 (ii) dry and saturated. |  |
| b) | Explain briefly the following terms: (i) Wet steam (ii) Dry saturated steam (iii) Super-heated steam (iv) Dryness fraction. |  |
| c) | Explain the processes involved in the Rankine cycle with the help of P-V and T-S diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Dry and saturated steam enters a steam engine at 10 bar pressure and leaves it at 0.1 bar pressure. Estimate the Rankine efficiency of the engine. |  |
| b) | Explain with a neat sketch the construction and working of a Loeffler boiler. |  |
| c) | Write a note on ‘Economiser’ used in boilers. |  |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you understand by chimney draught and mechanical draught? Write down any two advantages and two disadvantages of a mechanical draught. |  |
| b) | Explain with a neat sketch the working and construction of a Cochran boiler. |  |
| c) | Explain the construction and working of an axial flow compressor with the help of a neat sketch. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Hydraulic energy |  |
| b) | Multistage compression and its advantages |  |
| c) | Uses of compressed air |  |
| d) | Fans and blowers |  |
| e) | Boyle’s Law and Charle’s Law |  |

***********