## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | With a diagram, explain Primary & Secondary transducers. What is the unit of pressure, flow? |  |
| b) | What is a strain gauge? Define gauge factor. |  |
| c) | What is a Thermistor? Define NTC & PTC. |  |
| d) | What is hygrometer? Explain its working in brief. |  |
| e) | Draw a Data Logger. Explain in brief functions of signal conditioner. |  |
| f) | Define i) Error ii) Dead time iii) Process Equation. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Distinguish between: - Active and Passive transducers - Analog and Digital transducers - Electrical and Mechanical transducers |  |
| b) | How is potentiometer used to measure displacement? Explain with diagram i) Linear Potentiometer ii) Rotary Potentiometer. |  |
| c) | Explain briefly any 3 methods of variation of capacitance to measure displacement. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the working of a 4 bit shaft Encoder using diagrams. |  |
| b) | Explain any two methods of thickness measurement. |  |
| c) | Write short notes on: - L.V.D.T - Pirani gauge |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of diagram, explain the construction and operation of Electromagnetic flowmeter. |  |
| b) | Explain any two methods of Liquid level measurement. |  |
| c) | Explain the working of AC tachometer. State its advantages and disadvantages. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a circuit diagram, explain working of Opamp Instrumentation amplifier. |  |
| b) | With the help of a diagram, explain the working of DC signal conditioner. |  |
| c) | What is DAS? With a block diagram explain the working of a Multichannel DAS. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain final control operation and process control loop. |  |
| b) | Explain any one in detail with equations and output waveforms: i) Proportional Control ii) Derivative Control iii) Integral Control iv) PID Control. |  |
| c) | Write short notes on any two: - Solenoid - Stepper motor - Discontinuous Controller Mode |  |

***********