## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(AE306) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define self cleaning velocity with respect to sanitary layout. |  |
| b) | Sketch a Tee joint. |  |
| c) | Define function of a trap and types of traps. |  |
| d) | State the function of a distribution board in domestic house wiring. |  |
| e) | List any three materials used in pipes for water supply. |  |
| f) | Write briefly on rainwater disposal. |  |
| Q.No.2. | Answer any one of the following Questions: | (12) |
| a) | Draw water supply layout in the plan given in Fig.1. |  |
| b) | Draw Electrical layout showing legend in the plan given in Fig.2. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different sources of water supply? Elaborate. |  |
| b) | Differentiate between R.C.C water tank and PVC water tank used for water supply. |  |
| c) | What is the function of an Inspection chamber with regard to sanitary layout? Explain with the help of neat sketch. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on electrical fittings and fixtures used in a typical modern house. |  |
| b) | What are the different types of wiring for domestic electrification? |  |
| c) | Which points require one phase and two phase wiring? Explain giving reason. What is a MCB and where do we use it? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different types of tests that are carried out before putting the sanitary line of a house drain to use? Which is the best and why? |  |
| b) | State the requirements and principles that govern the design of building drainage. |  |
| c) | Draw a sketch of a Flushing cistern, Kitchen sink and a section of a Gully trap (Plan & section). |  |
| Q.No.6. | Answer any one of the following Questions: | (12) |
| a) | Draw a plan and cross section through the septic tank and a soak pit. Assume suitable data. |  |
| b) | Draw a plan of a toilet showing W.C., bath area, Nahni trap and a wash basin. | …….2/- |