## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Building Automation(EN619) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List 6 sensors used in BMS. |  |
| b) | Explain the term DDC. |  |
| c) | Explain night cycle in energy management program. |  |
| d) | Describe alarm monitoring in BMS. |  |
| e) | Explain how BMS is useful in energy management. |  |
| f) | Describe the application of BMS in hospitals. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the basic functions of BMS. |  |
| b) | Describe the application of BMS in lighting control. |  |
| c) | Explain the benefits of BMS. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of cooling equipment in HVAC system with the help of a diagram. |  |
| b) | Explain the working of all water type air conditioning system using 4 pipes. Draw suitable diagram. |  |
| c) | Explain the working of cooling tower control system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms: Dew point temperature, Relative humidity, Wet bulb temperature. |  |
| b) | Given the dry bulb temperature and relative humidity, explain with the help of a sketch how the following are obtained: Wet bulb temperature, Dew point, Enthalpy. |  |
| c) | Explain the process of humidification using steam jet. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of zone level and system level controllers. |  |
| b) | Describe twisted copper pair, fibre optic cable and common carrier telephone line used for BMS transmission trunk. |  |
| c) | Describe the Bacnet communication protocol used in BMS. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and explain the function of typical DDC operators. |  |
| b) | Discuss the advantages of DDC. |  |
| c) | Explain the working of optimum start and optimum stop programs in Energy management software. |  |

***********