## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Architectural Engg.

Subject: Building services-I(4530)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer in short any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Name and sketch any three types of Electrical fittings. |  |
| b) | Explain reservoirs. |  |
| c) | Explain Sewers. |  |
| d) | Sketch a Tee joint. |  |
| e) | Write briefly on rainwater disposal. |  |
| f) | Sketch (i) Gully trap (ii) Intercepting trap. |  |
| g) | State why ventilation of drain is necessary. |  |
| h) | List any three sources of water supply. |  |
| Q.No.2. | Answer any one of the following Questions: | (14) |
| a) | Prepare a water supply layout in a given plan (Fig.1). |  |
| b) | Briefly write on various fittings that are used in a residential water supply. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 8 = 16 |
| a) | Sketch out a detail plan and section of a septic tank. Explain its working. |  |
| b) | Sketch a cross section through (i) Drop Manhole (ii) Intercepting trap. |  |
| c) | Write short notes on: - Water seal in a trap - Five hydrant . |  |
| Q.No.4. | Prepare an Electrical layout in a given plan (Fig.1) indicating various fixtures, wiring layout and provision of earthing. | (14) |
| Q.No.5. | Answer any two of the following Questions: | 2 x 8 = 16 |
| a) | Write a brief note on different types of tests conducted for an effective drainage. |  |
| b) | Requirements of ideal pipes used for a house drainage system and types of traps used in a drainage system. |  |
| c) | What are the different considerations for effective drainage system? |  |

………2/-