## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the important parameters considered in determining water quality. |  |
| b) | Draw a neat sketch of Post Fire Hydrant. |  |
| c) | What are the factors affecting the size of sewer materials? |  |
| d) | Explain the location & purpose of following: i)Check valve ii)Gate valve iii)Non return valve. |  |
| e) | Explain the significance of parameters B.O.D & C.O.D in treatment of sewage. |  |
| f) | What are the precautions to be taken to prevent water borne disease in water supplies? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the sources of water used for water supply schemes? Discuss their merits and demerits from quality and quantity point of view. |  |
| b) | Enlist the different methods for estimating the future population. Explain any two methods. |  |
| c) | With the aid of flow diagram of water treatment plant briefly explain the procedure of water treatment. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is break point chlorination? Explain its action as disinfectant in treatment of water. |  |
| b) | What are the functions of a service reservoir? Describe in details an elevated service reservoir. |  |
| c) | With a typical layout of house water distribution system for residential building explain the principle governing design of the system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meant by “ water carriage system”? State the merits & demerits of this system. |  |
| b) | Draw a neat sketch of septic tank & sock pit and explain its suitability & working. |  |
| c) | Draw neat sketches of different types of traps & inspection chambers used for residential building & explain in brief. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the layout of a typical sewerage treatment plant state the function of various units of sewerage treatment. |  |
| b) | Explain the “activate sludge process” with a neat sketch. |  |
| c) | Explain the method of collection & disposal of dry refuse. |  |
| Q.No.6. | Write short note any four of the following: | 4 x 3 = 12 |
| a) | Role of Public Health Engineer |  |
| b) | Water demand for public use |  |
| c) | Aerator |  |
| d) | Sewer Ventilation |  |
| e) | Types of solid wastes |  |

***********