## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | With a neat figure explain the working of a photomultiplier tube. |  |
| b) | What is infrared therapy? How is it different from ultraviolet therapy? |  |
| c) | How can an operational amplifier be used as an isolation amplifier? |  |
| d) | Write a note on damped resonant systems. |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | Explain the use of cryogenics in medicine. What are the precautions to be taken? | (8) |
| b) | Write briefly on any two: i)Ultrasonic therapy ii)Respiratory therapy iii)Short wave diathermy. | 2 x 2 = 4 |
| Q.No.3. | Answer the following Questions: |  |
| a) | What are thermal transducers? Explain in detail different types of thermal transducers. | (8) |
| b) | Answer any two: i)How can an inductor be used as a transducer? ii)What are bonded strain gauges? iii)What are photoemissive transducers? | 2 x 2 = 4 |
| Q.No.4. | Answer the following Questions: |  |
| a) | Explain any 2 nuclear medicine imaging devices. | (8) |
| b) | Answer any two: i)How can an operational amplifier be used as a buffer amplifier? ii)What are the sources of radioactivity in nuclear medicine? iii)What is a scintillation detector? | 2 x 2 = 4 |
| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain an operational amplifier as voltage and current sources. |  |
| b) | What are the distortions encountered while reproducing an event? |  |
| c) | Explain a high impedance amplifier with controlled gain. |  |
| d) | What is an isolation amplifier? |  |
| Q.No.6. | Write note on any three: | 3 x 4 = 12 |
| a) | Fourier Series |  |
| b) | Nebulisers |  |
| c) | Rectilinear Scanner |  |
| d) | Piezoelectric transducers |  |

***********