## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Temperature in a chamber is to be maintained constant. Develop a block diagram showing elements of process control for above process. |  |
| b) | Draw symbols of : I) Control relay II) Timer relay III) Limit switch IV) Solenoid. |  |
| c) | What is meant by signal conversion? Specify any four such conversions. |  |
| d) | Write a note on process loop tuning. |  |
| e) | Sketch the constructional details of a control valve and name its parts, stating their functions. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the concept of a discrete state process control system, with help of an example. State the characteristic features of such a system. |  |
| b) | Explain the concept of ladder diagram with an example. State the difference in interpretation of a physical ladder diagram and a programmable ladder diagram. |  |
| c) | Describe the features of programmable controller elements, with typical example showing programming. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of example, explain the terms: i) process load ii) process lag iii) cycling iv) control lag. |  |
| b) | What is meant by mode of controller operation? List and classify various modes of controller operation. |  |
| c) | With help of graphs and mathematical expressions, explain the operation and features of ON–OFF control system. What is neutral zone? Why is it important? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of block diagram, explain steps in final control operation, with example. |  |
| b) | Explain operation, features of: i) any one electrical actuator ii) any one mechanical control element. |  |
| c) | Write note on : i) Current to pressure converter ii) multivariable alarms. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw schematic diagram and briefly explain the implementation of following controller modes using pneumatic devices: i) PI controller ii) PD controller. |  |
| b) | With help of graphs showing variation of error input and controller output with time, explain the following: i) single speed floating controller ii) derivative mode controller. |  |

………2/-

-2-

| c) | Draw schematic diagram and briefly explain the implementation of following controller modes using opamps: i) Proportional controller ii) Integral controller. |  |
| --- | --- | --- |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of block diagram, explain features of a data logger. |  |
| b) | What are the features of computer supervisory control? How it differs from direct digital control? |  |
| c) | Explain i) Control system quality ii) Loop disturbances. |  |

***********