## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(4274)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define BOD. What are its limits in a waste sample prior to its disposal? |  |
| b) | Discuss briefly the principle involved in the estimation of chlorides of a water sample. Give its permissible limits. |  |
| c) | Define Break point chlorination. Discuss its significance in the disinfection of water. |  |
| d) | Discuss briefly the significance of a fruit and vegetable waste. |  |
| e) | What are indicator microorganisms? Give 4 examples. |  |
| Q.No.2. | Answer following: | 2 x 6 = 12 |
| a) | Discuss the quality requirements of portable water sample giving its permissible limits. |  |
| b) | Discuss in detail the specific treatment methods used for water used in i) A Dairy unit OR ii) A Softdrink unit. |  |
| Q.No.3. | How would you estimate any 4 of the following: | 4 x 3 = 12 |
| a) | The chlorides present in a water sample. |  |
| b) | The bicarbonate present in a water sample. |  |
| c) | The phenolphthalein alkalinity of a water sample. |  |
| d) | The permanent and temporary hardness of water. |  |
| e) | The total solids present in a water sample. |  |
| Q.No.4. | Answer the following: | 2 x 6 = 12 |
| a) | With the help of a neat flow chart discuss in detail a typical sewage treatment plant. |  |
| b) b) | Discuss the methods involved in determining the TPC and Coliform count of a given water sample. ### OR What is MPN? Give its method of estimation and its significance. |  |
| Q.No.5. | Answer the following: | 2 x 6 = 12 |
| a) | With the help of a neat diagram discuss the life cycle of Plasmodium vivax. What are the factors responsible for its growth? |  |
| b) b) | Discuss in detail the method involved in estimating the BOD of a waste sample. ### OR How would you determine the DO and COD of a given waste sample? |  |
| Q.No.6. | Answer the following: | 2 x 6 = 12 |
| a) | Discuss in detail with the help of chemical reaction, the chemical water softening method. |  |
| b) b) | Discuss the different types of filters used in water treatment. How would you maintain these filters? ### OR Comment on the pollution hazards on the disposal of wastes without treatment. |  |

-2-

***********