## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Civil Engg./CT

Subject: Civil Engineering Drawing-III(4010)

# Time Duration: 4 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Design/Plan a residential building of two storeys on a plot of 15m wide x 20m deep; with a front road 10m wide. Following are the requirements: |  |
| --- | --- | --- |
|  | i)Car poarch |  |
|  | ii)A living, dining, kitchen, a bedroom and toilets on ground floor |  |
|  | iii)Two bedrooms, family lounge, balconies and terrace on first floor |  |
|  | iv)Partly sloping and partly flat roof. Draw the following to a scale of 1:50. Ground floor plan First floor plan Roof plan Section through stairs Area statement. | (8) (8) (7) (8) (7) |
| Q.No.2. | Plan and draw line plans of any two: | (22) |
| a) | A post office |  |
| b) | Primary School |  |
| c) | Panchayat office. Show dimensions, passage widths, shutters & their sizes. |  |
| Q.No.3. | Answer any three: | (15) |
| a) | What are the details/contents of the site plan in a submission drawing? Prepare a list. |  |
| b) | Explain: Grouping, circulation and privacy in respect of planning principles of a building. |  |
| c) | Explain pointwise how a commercial building is not suitable to use as residential apartments. |  |
| d) | Make a list of all authorities at different levels/localities for sanctioning a plan/project. |  |
| e) | Specify any three building bye-laws and explain. |  |

***********