## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/C(5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is the role of refrigerant in the refrigeration system? |  |
| b) | Write down the properties of: i)R-12 ii)Ammonia. |  |
| c) | What is cooling & humidification? |  |
| d) | Draw a neat self explainatory diagram of a simple vapour absorption refrigeration system. |  |
| e) | List the various controls used in air-conditioning system. |  |
| f) | What do you mean by Psychrometry & Psychrometrics. |  |
| g) | How pressure drop in the expansion valve takes place? |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a)i) ii) | Give the classification of refrigerants with an example. Write the designation procedure of refrigerant. |  |
| b) | Draw a neat sketch of T-S & p-h diagram for any two factors affecting the performance. |  |
| c) | With a neat sketch explain the working of a simple vapour absorption cycle. |  |
| d) | Explain V.G. cycle on T-S diagram, for the following cases: i)Dry & unsaturated vapour at the end of compression. ii)When the vapour is little superheated after compression. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | With a neat sketch, explain electrolux refrigerator. |  |
| b)i) ii) | What is the function of absorber? Explain. What is the function of condenser? How are they classified? |  |
| c) | Explain with a sketch any two types of condensers. |  |
| d) | What is evaporator? State its function in the system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following : i) Dry air ii) Saturated air iii) D.P.D. |  |
| b) | Draw a neat sketch of psychrometric chart. |  |
| c) | Show the following processes on the psychrometric chart: i)Sensible cooling ii)Cooling & De-humidification. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch and explain: i) Convector ii) Radiator. |  |
| b) | What is the function of fan? How are they classified? Explain any one. |  |
| c) | With the help of a neat sketch explain the working of “Domestic” refrigerator. |  |
| Q.No.6. | Write notes on any three of the following: | 3 x 4 = 12 |
| a) | Second law of thermodynamics |  |
| b) | Central air conditioning plant |  |
| c) | Water Cooler |  |
| d) | Green house effect |  |

***********