## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five briefly: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are ‘Korotkoff sounds’? |  |
| b) | State advantages of TDM over FDM. |  |
| c) | Distinguish between AL and DL defib. |  |
| d) | How an alert wide awake state and a drowsy state can be identified from EEG patterns? |  |
| e) | What are evoked potentials? |  |
| f) | Name 2 bio-electric and physiological variables that can be measured using biotelemetry. |  |
| g) | What is ‘Iso-potential line’ of ECG? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat block diagram explain the working of ECG machine. |  |
| b) | Write a short note on ECG leads and electrodes. |  |
| c) | Write a note on different pacing modes. |  |
| d) | Write a note on spirometer. |  |
| Q.No.3. | Describe the method of direct blood pressure measurement. ### OR | (12) |
| Q.No.3.a) | State the uses of EEG in diagnosis. | (6) |
| b) | Define Plethysmography. | (6) |
| Q.No.4. | With the help of a neat diagram describe the working of electromagnetic blood flow meter and also state the properties of the indicator dye used in blood flow measurement. | (12) |
| Q.No.5. | Answer the following Questions: | 3 x 4 = 12 |
| a) | What is CMRR? |  |
| b) | Explain how AM signals can be demodulated. |  |
| c) | With reference to ECG explain: |  |
|  | i) Paradoxial sleep ii) Evoked response. |  |
| Q.No.6. | Answer any three of the following: | 3 x 4 = 12 |
| a) | Write a note on multi channel FDM. |  |
| b) | Describe in brief Ultrasonic blood flow meter. |  |
| c) | Mention the lung volumes and capacities. |  |
| d) | Write a note on AC defib. |  |

***********