## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(4197)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) Question No.1 is compulsory. Answer any five from

remaining questions.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer briefly: (any five) | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define ‘Image resolution’. |  |
| b) | Define modulation transfer function. |  |
| c) | List the applications of Telemedicine. |  |
| d) | Why are leakage currents dangerous? |  |
| e) | What is cochlear prosthesis? |  |
| f) | What are active electrodes? |  |
| g) | What are speech audiometer? |  |
| h) | What is the nature of X-Rays? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle of working of an X-ray tube. |  |
| b) | Explain the principle and working of Magnetic Resonance Imaging. |  |
| Q.No.3. | List the applications of LASER. What is lithotripsy? With a block diagram, explain the working of a dialysis machine. | (12) |
| Q.No.4. | Write short note on: | 2 x 6 = 12 |
| a) | Electrosurgical unit |  |
| b) | Return electrode |  |
| Q.No.5. | Write short note on: | 2 x 6 = 12 |
| a) | Pure tone audiometer |  |
| b) | Evoked response |  |
| Q.No.6. | Write notes on any three: | 3 x 4 = 12 |
| a) | Computer aided ECG analysis |  |
| b) | Computer applications in the medical field |  |
| c) | Bladder stimulator |  |
| d) | CT scanner |  |
| Q.No.7. | Answer the following: | 2 x 6 = 12 |
| a) | Describe the testing instruments used for checking safety parameters of biomedical equipments. |  |
| b) | With a neat block diagram explain the working of a fluoroscopy system. |  |
| Q.No.8. | Write notes on any three: | 3 x 4 = 12 |
| a) | Sonography machine |  |
| b) | Infant incubator |  |
| c) | Signal to noise ratio |  |
| d) | X-Ray tube |  |

***********