## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(4110)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Which method is prominently used in fault calculation? State its advantages. |  |
| b) | A 33 KV, 15 MVA generator has 0.15 p.u referred to its ratings as bases. The new base chosen for calculations are 110 KV and 30 MVA. Calculate new p.u. reactance. |  |
| c) | Give three points of distinction between a rewirable fuse and H.R.C. fuse. |  |
| d) | Enumerate the different points to be considered for selection of fuse. |  |
| e) | State the advantages of MCB over switch fuse unit. |  |
| f) | State the limitations of Buchholz Relay. |  |
| g) | Define: - Protective zone - Main protection - Through fault. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the various methods used for arc interruption in a.c. and d.c. operated circuit breaker. Also explain any one such method of your choice with the help of neat diagram. |  |
| b) | Draw the block diagram of MCB and explain its working. |  |
| c) | State the advantages of MOCB. Also explain its principle of operation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the Principle of operation of air blast circuit breaker and explain it in brief. |  |
| b) | State at least six merits and six demerits of SF6 circuit breaker. |  |
| c) | State the principle of operation of Vaccum circuit breaker. State at least 4 merits of Vacuum circuit breaker. Also state important parts of it. | (1) (2) (3) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the fundamental requirements of a protective relaying. Also explain each requirement in brief. |  |
| b) | With reference to IDMT relay define its i) PSM ii) TSM. Also list out the steps involved in calculation of PSM as well as actual relay operating time. |  |
| c) | Draw the block diagram of a static relay used for over current protection. Also state the function of each block for the operation of relay. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | A three phase 110KV/33KV, star/delta connected power transformer is to be protected by using differential relay. The C.T.S. on LT side have ratio of 400/5. Final the ratio of C.T. on H.T. side of main transformer. Also draw neat circuit breaker of connecting power transformer with C.T.S. & differential relay. |  |
| b) | What do you understand by restricted earth fault protection? Is it possible to provide 100% protection to alternator stator winding against earth fault. State your choice & justify it. Under what condition of stator winding is the restricted earth fault protection applicable? |  |
| c) | Draw a neat circuit diagram to indicate the use of Merz price differential scheme of protection in protecting delta connected stator winding of an alternator against earth fault. Clearly indicate the connections of C.T. secondaries provided on earth side of alternator winding. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you mean by single phasing? In which machine does it occur? State its causes & effects. State the protective scheme used for such purpose. |  |
| b) | List out the various types of faults occurring in three phase Inductions motors. Also state the cause of each & its effect on motor operation. |  |
| c) | Explain the translay scheme of protection of your choice in brief with the help of neat diagram. Also state the fault condition against which it provides protection. |  |
| d) | Explain time and current graded scheme of protection with the help of neat diagram. For which component of power system does such scheme provides protection? Also state its advantages. |  |

***********