## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Mechanical Engg./P

Subject: Metrology & Quality Control(4047)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the need of inspection in industries. |  |
| b) | Compare “Line Standard” with “End Standard”. |  |
| c) | Discuss “Taylor’s principle” as applied to design of limit gauges. |  |
| d) | How is straightness tested using spirit level? |  |
| e) | What are “Drunken Threads”? |  |
| f) | Explain the relationship between “Inspection” and “Quality Control”. |  |
| g) | Write a short note on “Vendor Quality Rating”. |  |
| Q.No.2. | Answer any two: | 2 x 6 = 12 |
| a) | Explain with suitable examples the concepts of precision and accuracy. |  |
| b) | With the help of a neat sketch, explain how sine bar is used for measurement of angle of a small work piece. |  |
| c) | Name various types of comparators. Explain the advantages of pneumatic comparators. |  |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | With the help of a neat-labelled diagram, explain the working mechanism of a Dial Indicator. |  |
| b) | With the help of a neat sketch, explain how you measure the parallelism of the arbour with the table of a milling machine. |  |
| c) | Explain with suitable example, the use of Tomilson’s Surface meter. |  |
| Q.No.4. | Answer any two: | 2 x 6 = 12 |
| a) | Name different types of errors in threads. Explain the effects of pitch errors. |  |
| b) | What are screw thread measuring instruments? Explain the use of “Ring gauges”. |  |
| c) | Discuss the objectives of Quality Control. |  |
| Q.No.5. | Answer any two: | 2 x 6 = 12 |
| a) | Explain with suitable examples the relationship between cost and value of quality. |  |
| b) | Discuss “Quality of Conformance” and “Quality of Design”. |  |
| c) | Explain in detail the concept of “Process capability.” |  |
| Q.No.6. | Answer any two: | 2 x 6 = 12 |
| a) | With the help of an O.C. Curve, explain: (i) Producer’s Risk (ii) Consumer’s Risk. |  |
| b) | Explain how a double sampling plan works. What are the advantages of a double sampling plan over single sampling plan? |  |

………2/-

-2-

| c) | The values of Σx and ΣRfor a process for 20 subgroups of sample size 5 are 3569.2 and 196 respectively. Determine the control limits for x and R charts. Refer following table for factors for determining 3 sigma limits. No. of observations in subgroups (n); 2; 3; 4; 5. A2; 1.88; 1.02; 0.73; 0.58. D3; 0; 0; 0; 0. D4; 3.27; 2.57; 2.28; 2.11. |  |
| --- | --- | --- |

***********