## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April,2013 Examinations

Programme: Civil Engg./CT

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Distinguish between repair and maintenance works. |  |
| b) | Describe the procedure involved in anti termite treatment of a building. |  |
| c) | Explain the method of cleaning of water tanks. |  |
| d) | List out common defects in plastering & suggest remedial measures. |  |
| e) | Explain various steps involved in repair and maintenance of W.B.M. roads. |  |
| f) | Explain various safety requirements needed in maintenance works. |  |
| g) | Describe what do you understand by “Special repair works”. |  |
| Q.No.2. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain various types of contracts for maintenance works & state their merits and demerits. |  |
| b) | With reference to following building services describe various maintenance works involved: - Plumbing - Light and ventilation. |  |
| c) | With reference to painting list out various defects and suggest suitable remedial measures. |  |
| Q.No.3. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain various methods adopted to detect leakages of water in the distribution system. |  |
| b) | Describe various maintenance works involved in sewage treatment plant. |  |
| c) | Explain how do you carry out the maintenance of house drainage system. |  |
| Q.No.4. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain maintenance of shoulders provided for roads & state their importance. |  |
| b) | Explain pre-monsoon and post-monsoon maintenance work carried for roads. |  |
| c) | What are the common defects observed in concrete roads? Explain necessary remedial measures required to avoid such defects. |  |
| Q.No.5. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Describe various reasons for inefficient functioning of irrigation channels and necessary remedial measures needed. |  |
| b) | What is meant by canal breach? Explain how do you prevent such breaches. |  |
| c) | Describe the procedure adopted in maintenance of service roads in an irrigation structure. |  |

………2/-

-2-

| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| --- | --- | --- |
| a) | Organisation of maintenance structure |  |
| b) | Soil stabilisation |  |
| c) | Repairs of filters |  |
| d) | Anti termite treatment |  |
| e) | Routine inspection of hydraulic structures |  |
| f) | Fire protection |  |

***********