## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(4110)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State different types of faults & their frequency of occurrence. |  |
| b) | State all the advantages of using MCB over a fuse. |  |
| c) | Classify the relays on the basis of their time of operation. Also state the function of relay. |  |
| d) | State all the requirements of a protective scheme. |  |
| e) | State the different types of fuses. |  |
| f) | State the various points to be considered for selection of fuse. |  |
| g) | Define the following terms: 1) Main protection 2) Back up protection 3) Through fault. |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | 1)What is the necessity of current limiting reactor? | (2) |
|  | 2)State the advantages of using P.U. method in fault calculation. | (2) |
| b) | Explain in brief the basic principle of operation of MCB with the help of neat block diagram. |  |
| c) | State the method of arc interruption in A.C. circuit breaker and explain it is brief. |  |
| d) | Specify the ratings of a circuit breaker and define each. Also define RRRV. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State the constructional features of ACB in brief. |  |
| b) | Explain the principle of arc extinction in case of ABCB. |  |
| c) | State at least six merits & 2 demerits of using SF6 gas as arc extinguishing medium in SF6 circuit breaker. |  |
| d) | Explain the principle of operation of HVDC circuit breaker. |  |
| Q.No.4. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain the working of Buchholz relay in brief. Also state the types of faults against which it provides protection. |  |
| b) | Draw a block diagram of using static relay for differential protection and explain its working in brief. |  |
| c) | With reference to an IDMT relay, define 1) Plug setting 2) Time setting. Also clarify list out the various steps to calculate actual operating time of such relay. |  |
| d) | Explain in brief constructional features and principle of operation of Impedance relay. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Draw a neat circuit diagram of using Merz price circulating current scheme of protection in a delta star connected transformer. Also state the drawbacks of such scheme. | (4) (2) |
| b) | 1)State the different types of faults one comes across in an alternator. | (4) |
|  | 2)Also state the causes of any two of such faults of your choice. | (2) |
| c) | What do you understand by restricted earth fault protection by differential system? Against which fault does this protective scheme protect a generator. Can it provide 100% protection to winding of generator. Give your choice stating clearly the % of winding likely to be protected. Hence draw a neat circuit diagram for restricted earth fault protection scheme by differential system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you understand by single phasing of a three phase Induction motor? Under what condition does it occur? How can such motor be protected against single phasing? Hence draw a neat diagram. |  |
| b) | 1)State the causes of unbalanced voltage supply condition in a three phase Induction motor. | (2) |
|  | 2)State the limitations of current graded scheme of protection for transmission line. | (2) |
|  | 3)State the advantages of time, graded scheme of protection. | (2) |
| c) | State the purpose of providing carrier current scheme of protection. Explain such scheme in brief with the help of neat diagram. |  |

***********