## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical & Electronics Engg.

Subject: Power Generation, Transmission & Distribution(5091)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Discuss the advantages of interconnected grid system. |  |
| b) | Why are load curves drawn? |  |
| c) | Give the classification of distribution system w.r.t. voltage and number of wires. |  |
| d) | Give the values of permissible voltage drop in various parts of distribution system for urban, semi-urban and rural areas. |  |
| e) | Draw a neat sketch of plate earthing. |  |
| f) | Explain in brief the importance of earthing. |  |
| g) | Discuss the desirable properties of insulators. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define and explain the importance of the following terms in generation: 1) Maximum demand 2) Demand factor and 3) Diversity factor. |  |
| b) | Draw a neat schematic diagram of a hydro-electric plant and explain the functions of various components. |  |
| c) | What are the advantages and disadvantages of a diesel power station? |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the various conductor materials used for overhead lines. What are the relative advantages and disadvantages? |  |
| b) | Explain the factors affecting earth resistance and the ways and means to reduce earth resistance. |  |
| c) | Describe the various methods for reducing corona effect in an overhead transmission line. |  |
| Q.No.4. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | What is a strain insulator and where is it used? Give a sketch to show its location. |  |
| b) | Give reasons for unequal potential distribution over a string of suspension insulators. |  |
| c) | What is a sag in overhead lines? Discuss the disadvantages of providing too small and too large sag on a line. |  |
| d) | The present trend is towards HVDC system for transmission. Discuss the reason for it. |  |
| Q.No.5. | Answer any two of the following Questions: |  |
| a) | Explain with a single line diagram the ring distribution system. What are its advantages and disadvantages? |  |
| b) | Compare radial and interconnected distribution system. |  |

………2/-

-2-

| c) | Define the terms: 1) Feeder 2) Distributor and 3) Service Mains. Mention the voltage level of each. |  |
| --- | --- | --- |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List down atleast 6 I.E. rules for domestic wiring. |  |
| b) | Draw the electric circuit and estimate the quantity of material required for PVC casing and capping wiring system for a hall of 15m x 6m x 4.5m. The hall is to be provided with fan and light points. Make your own assumption for number of fan and light points. |  |
| c) | Compare PVC surface conduit and concealed conduit wiring system. |  |

***********