## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical Engg./E&EE

Subject: Substation Practice(5105)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give comparison between Indoor & Outdoor substations. |  |
| b) | What are merits & demerits of single busbar system? |  |
| c) | State the general specifications for procurement of CT’s & PT’s. |  |
| d) | What is a Load Break switch? How is it different from Isolator? |  |
| e) | What is a mimic diagram? Give its importance on control & relay panel. |  |
| f) | Explain the different types of control & relay panels in brief. |  |
| g) | State the factors affecting current carrying capacity of a cable. |  |
| Q.No.2. | Answer any two: | 2 x 6 = 12 |
| a) | What is a substation? Briefly explain the different types of substations based on service requirement. |  |
| b) | With a neat sketch explain single sectionalised busbar scheme. What are its limitations? |  |
| c) | With a neat sketch explain working of clip on Ammeter. Give its applications. |  |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | Draw the symbols and explain the function of following components: [i]Circuit Breaker (ii) Isolator (iii) Earthing switch. What is the sequence of their operation while closing & opening of a line? |  |
| b) | Compare isolated & grounded neutral system. |  |
| c) | List the different methods of Neutral earthing. Explain any one in detail with its merits & demerits. |  |
| Q.No.4. | Answer any two: | 2 x 6 = 12 |
| a) | Explain Maximum Demand Tariff. State its merits & demerits. |  |
| b) | A 1 motor connected to 400V, 50Hz supply takes 31.7A at a p.f. of 0.7 lag. Calculate the capacitance required in parallel with the motor to improve the p.f. to 0.9. |  |
| c) | Write a short note on HVDC substation. |  |
| Q.No.5. | Answer any two: | 2 x 6 = 12 |
| a) | Explain valve type Lightning Arrestor with a neat sketch. |  |
| b) | Explain the general construction of a 3-core power cable with a neat sketch. |  |
| c) | List the various methods of laying underground cables. Explain any one in detail. State its merits and demerits. |  |
| Q.No.6. | Answer any two: | 2 x 6 = 12 |
| a) | Write a note on ‘preventative maintenance schedule’ for a substation. |  |
| b) | Write a short note on care & maintenance of Lead Acid Battery. |  |
| c) | What is Silica Gel? Where is it used? Explain how it is reactivated? |  |

***********