## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give the classification of instruments based on the various effects of electric current. |  |
| b) | Explain the main static characteristics. |  |
| c) | What are Absolute and Secondary instruments? |  |
| d) | Give reasons why the rotating disc in an Energymeter is made of aluminium. State the unit in which energy is measured. |  |
| e) | Give the specifications of single phase induction type Energymeter as mentioned on its name plate. |  |
| f) | Explain the classification of resistances based on their magnitude ranges. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the three essential torques required in the instruments? How these torques are produced in PMMC instruments? |  |
| b) | List the advantages and disadvantages of MI instruments. |  |
| c) | Explain loading effect of voltmeter and voltmeter sensitivity. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of the dynamometer type single phase wattmeter and name its various parts. Explain its principle of operation. |  |
| b) | The reading on two wattmeters connected for measurement of three phase power are 5KW and 0.5KW. Calculate the power and power factor, if - Both meters read direct - One of the meters has been reversed. |  |
| c) | List various wattmeter errors. How are these errors minimised? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of instruments based on the permissible limits of errors. |  |
| b) | What are the different types of errors in the measuring instruments? Explain how these errors are minimized. |  |
| c) | Draw a circuit diagram of a two element, three phase induction type Energymeter & explain its working. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of Megger and explain its working. |  |
| b) | Explain Ammeter – Voltmeter method of measurement of resistance. Draw the two types of connections of the above method. |  |
| c) | Draw the connection diagram of measurement of power in a 3 phase circuit with 2 wattmeter method in conjunction with CTs & PTs. | ……2/- |

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | - Enumerate the distinct advantages of instrument transformers. - What is a multiplier? What are its requirements when used on D.C. circuits? |  |
| b) | Write a short note on single phase power factor meter. |  |
| c) | Explain with the help of a neat sketch the working principle of frequency meter. |  |

***********