## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Mechanical Engg.

Subject: Power Engineering-II(4041)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

4) Use of Steam tables is permissible.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | With a neat sketch explain various types of steam nozzles. |  |
| b) | Draw a block diagram of reheat cycle for steam turbine plant. |  |
| c) | Give advantages and disadvantages of Jet condenser over Surface condenser. |  |
| d) | Define the following in case of I.C. engines: (i)Stroke length (ii) Swept volume (iii) Compression Radio. |  |
| e) | Define Refrigeration. What is meant by 1 Tonne of Refrigeration? |  |
| f) | Draw Otto cycle on P-V plane and mention the different processes involved. |  |
| g) | Draw a neat labelled sketch of open cycle gas turbine. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain construction and working of low level jet condenser. |  |
| b) | What are the functions of cooling tower? Explain any one type of cooling tower with a neat sketch. |  |
| c) | Compare Gas turbine with Steam turbine. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is compounding of steam turbine? Show variation of pressure and velocity in pressure compounded steam turbine. |  |
| b) | What is meant by governing of turbine? Describe any one method of governing of steam turbine. |  |
| c) | In an impulse turbine, steam enters the wheel through nozzle with velocity of 500 m/s and at an angle of 20º to direction of motion of blades. Blade speed is 200 m/s and exit angle of moving blade is 25º. Find inlet angle of moving blade, Exit velocity of steam & its direction, power developed per kg of steam and Blade efficiency. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare 2-stroke cycle with 4-stoke cycle of I.C. engine. |  |
| b) | With a neat sketch explain various parts of a 4-stroke petrol engine. |  |
| c) | For an engine working on Otto cycle, pressure at beginning is 1 bar and at end of compression is 10 bar. Calculate compression ratio and air standard cycle efficiency. Assume specific heat ratio  = 1.4. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain water cooling system used in I.C. engine. |  |
| b) | A four cylinder two stroke cycle petrol engine develops 23.5 KW brake power at 2500 rpm. Mean effective pressure on each piston is 8.5 bar and mechanical efficiency is 85%. Find the diameter and stroke of each cylinder assuming length of stroke equal to 1.5 times diameter of cylinder. |  |
| c) | Explain with the neat sketch an open cycle gas turbine plant. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch a vapour compression refrigeration cycle. |  |
| b) | What is psychrometry? Explain the process of cooling and dehumidification with diagram. |  |
| c) | Explain the closed cycle Gas turbine with necessary diagram. |  |

***********