## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April,2013 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(4274)

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are index and indicator organisms? |  |
| b) | Define acidity. What are total, fixed and volatile acidity? |  |
| c) | Write three advantages and disadvantages of chlorination. |  |
| d) | Define BOD. How it differs from COD? |  |
| e) | How you would prevent the growth of mosquitoes in your surroundings? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Describe the method of preparation of water in ‘Soft Drink’ industry with the help of a neat flow chart. Give parameters of this water. |  |
| b) | Describe the waste treatment methods adopted by the following industries i) Meat process ii) Dairy. |  |
| Q.No.3. | Write in brief the method of estimation of following: (any four) | 4 x 3 = 12 |
| a) | Total hardness of a water sample |  |
| b) | Fluoride content of water sample |  |
| c) | Chlorine content of water sample |  |
| d) | Carbonates present in the water sample |  |
| e) | Do (Dissolve Oxygen) of the water sample |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the various techniques used to count indicator organisms? Write any one of the same in details. |  |
| b) | Write in detail the general methods of water purification used for industries. What is reverse osmosis (RO)? #### OR |  |
| b) | Emphasize the importance of treatment of industrial waste with respect to environmental hazard. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the physical, chemical and bacteriological treatment of potable water. |  |
| b) | What are the various sources for contamination of water? Suggest the methods for prevention of the same. #### OR |  |
| b) | Discuss in detail about the treatment process of municipal water. |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Types of water filters & its maintenance |  |
| b) | Primary and secondary treatment of waste water |  |
| c) | Disinfection methods of water |  |
| d) | Hard water and its characteristics |  |
| e) | Factors responsible for growth of P.Vivex |  |
| f) | Coliform and its importance |  |
| g) | Vector borne diseases with two examples |  |

***********