## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Architectural Engg.

Subject: Building Construction-II(4521)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define lintel & mention the types of lintel based on material used. |  |
| b) | What are non-loading bearing walls? Mention the types. |  |
| c) | Explain the necessity of bonding of composite materials. |  |
| d) | How will you proportion the riser and thread for residential building? |  |
| e) | List the materials used for cladding of wall finishes. |  |
| f) | Explain where load bearing structures are constructed and why. |  |
| g) | Draw a neat sketch of a semicircular brick Arch for an opening of 1.5 metres. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between “A load bearing structure” and “A frame structure”. |  |
| b) | Explain the procedure followed during construction of Ashlar stone masonry and draw a neat sketch. |  |
| c) | Draw sketches of a “shallow foundation” and “deep foundation” and explain in brief. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between “Brick masonry” and “Stone masonry”. |  |
| b) | Explain construction of reinforced brick masonry and draw a neat sketch. |  |
| c) | What are the points to be observed while supervising stone masonry construction? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write down the classification of lintel and arches & where they are preferred in building. |  |
| b) | Draw a cross-sectional view of flooring and mention the types of flooring. |  |
| c) | What is a “lintel”? Where and when it is provided? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meant cladding? Mention the different types of materials used for cladding and their suitability. |  |
| b) | What type of flooring material will you recommend as an Architectural Assistant for - An Office Building - Hospital Building - A storage godown - Kitchen - Indoor stadium. |  |
| c) | Explain the procedure to be adopted while applying single coat cement plaster with neeru finish for an internal surface of a brick masonry wall to avoid any defects. | ….2/- |

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | If a stair is to be provided surrounding a lift for a multistoried building, show the arrangement of lift and stair in plan and section with suitable dimension. |  |
| b) | Explain the fixing of marble flooring and draw a cross- section view. |  |
| c) | State the classification of staircase according to materials and explain the construction of any one in plan and section. |  |

***********