## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the typical amplitude ranges for P, Q, R, S and T waves of the ECG waveform? |  |
| b) | What are the benefits of flow meters? |  |
| c) | Differentiate between synchronous and asynchronous pacemakers. |  |
| d) | Enlist the different types of EEG waveforms with their frequency ranges. |  |
| e) | Enlist the advantages and disadvantages of D.C. defibrillator in comparison with A.C. defibrillator. |  |
| f) | Write a note on factors affecting blood pressure measurement. |  |
| Q.No.2. | Explain the different types of ECG electrodes. Also explain the different lead configurations for ECG acquisition. | (12) |
|  | ### OR |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write a note on rate responsive pacing. |  |
| b) | What is Plethysmograph? Explain with the help of figure. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain indirect measurement of blood pressure. |  |
| b) | Explain any one technique of direct blood pressure measurement. |  |
|  | ### OR |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | ### With a neat block diagram briefly explain the working of EEG machine. |  |
| b) | With a neat diagram briefly explain the working of a DC defibrillator. |  |
| Q.No.4. | With the help of neat figures explain the working of electromagnetic blood flow meter and thermal convection blood flow meter. | (12) |
| Q.No.5. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Write a note on the ventilator. |  |
| b) | Explain a single channel radiotelemetry system. |  |
| c) | Differentiate between time division multiplexing and frequency division multiplexing. |  |
| Q.No.6. | Write a short note on any three: | 3 x 4 = 12 |
| a) | Properties of pacemakers |  |
| b) | EEG electrodes |  |
| c) | Pacemaker electrodes |  |
| d) | Pneumotachograph |  |

***********