## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/C (5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

4) Use of Psychrometric Charts is permissible.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write the designation of Monochlorodifluoro methane. |  |
| b) | Define and explain coefficient of performance. |  |
| c) | State and explain 3 desirable properties of an ideal refrigerant. |  |
| d) | Define second law of thermodynamics as stated by Kelvin-Planck and explain its meaning. |  |
| e) | Explain Dew point depression. What is its importance in Psychrometrics? |  |
| f) | What purpose is served by limit switch? |  |
| g) | Define Refrigeration. What are its uses? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe a simple vapour compression cycle with a sketch. State the function of each part of the simple vapour compression system. |  |
| b) | Discuss the effect of the following on the performance of the vapour compression system with help of a sketch: - Effect of suction pressure - Effect of superheating. |  |
| c) | With a neat sketch explain the working of ice plant. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of Electrolux refrigerator and explain its working. |  |
| b) | With the help of a neat sketch explain the following psychrometric process: - Heating and humidification - Cooling and dehumidification. |  |
| c) | Define Grand sensible heat factor. With the help of a neat sketch, explain components of GSHF. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch construction and working of a Thermostatic expansion valve. |  |
| b) | Describe a centrifugal compressor with the help of a neat sketch. |  |
| c) | Explain the working of a central air conditioning plant with the help of a neat sketch. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | What is the function of a filter? Explain with a neat sketch construction of any filter. |  |
| b) | Enumerate air conditioning controls. Describe Automatic temperature control. |  |
| c) | With the help of a neat sketch explain construction and working of a cold storage. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the limitations of vapour absorption refrigeration system. |  |
| b) | A mixture of dry air and water vapour is at 35C dry bulb temperature and 15C wet bulb temperature. Find the following properties of the air using Psychrometric chart - Percentage relative humidity - Specific humidity - Dew point temperature. |  |
| c) | - What are advantages of evaporative condenser over a water cooled condensor? What is the function of eliminator in evaporative condenser? - Differentiate between theoretical and actual vapour compression system. |  |

***********