## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw and explain the implementation of a latch using relay and momentary push button switches. |  |
| b) | List the methods of process loop tuning and explain one method. |  |
| c) | Define valve Cv. Explain valve positioner. |  |
| d) | Draw a block diagram showing elements of process control for pressure control. |  |
| e) | Explain multivariable control. |  |
| f) | Explain the loop disturbances that occur in a process control system. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of suitable examples explain discrete state and continuous process control. |  |
| b) | Draw the ladder diagram for start, stop, forward and reverse control of a motor. |  |
| c) | With the help of an example explain event sequence description. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a graph and process equation explain the operation and function of On-OFF control system. What is the significance of neutral zone? |  |
| b) | Explain the terms: Process lag, Process load and Control lag. |  |
| c) | Explain composite control mode with the help of appropriate examples. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation and features of proportional controller mode. What is proportional band and offset? |  |
| b) | Explain implementation of Proportional Integral mode using op-amps with the help of circuit diagram. |  |
| c) | Explain Pneumatic Proportional Derivative Controller. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain Computer Supervisory Control with the help of a diagram. |  |
| b) | With the help of block diagram explain the features of a Cascade Process & Control System. |  |
| c) | Write a short note on (i) Optimum control (ii) Stability of control systems. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any three signal conversion techniques. |  |
| b) | Explain the elements of final control operation with the help of a block diagram. |  |
| c) | Describe two types of Control Valves. |  |

***********