## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Mechanical Engg.

Subject: Power Plant Engineering(5037)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the following terms: i) Connected load ii) Peak load iii) Demand factor. |  |
| b) | Give the advantages and disadvantages of hydroelectric power plant. |  |
| c) | How intercooling improves the thermal efficiency of a simple open cycle gas turbine power plant? |  |
| d) | Why mechanical handling of coal is necessary in power plant? |  |
| e) | Write a short note on “make up water”. |  |
| f) | What is the function of cooling tower in modern steam power plant? |  |
| g) | Write a short on “Radioactive waste disposal”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A power station supplies the following loads to the consumer: Time in hrs; 0-6; 6-8; 8-12; 12-14; 14-18; 18-22; 22-24. Load in MW; 40; 50; 60; 50; 70; 80; 40. |  |
|  | - Draw the load curve - Determine the load factors of the Power Station - What is the load factor of a stand by equipment rated at 25MW that takes up all loads in excess of 60MW? Also calculate its use factor. |  |
| b) | Draw the general arrangement of hydroelectric power plant and explain function of its different components. |  |
| c) | Explain the cooling system of a Diesel power plant. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the working of simple constant pressure gas turbine power plant. Mention its advantages and disadvantages. |  |
| b) | Discuss the various steps in coal handling. |  |
| c) | With a neat sketch explain the construction and working principle of cyclone dust collector. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the factors to be considered for selecting a site for thermal power plant? |  |
| b) | With the help of a neat sketch explain the working of spreader stoker? |  |
| c) | Explain briefly the Zeolite process with a neat sketch. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain with a neat sketch working principle of mechanical draught cooling tower. |  |
| b) | Draw a layout of nuclear reactor and explain the main components of nuclear reactors. |  |
| c)i) | What is the advantage of liquid fuel over solid fuel? |  |
| ii) | What is the necessity of cooling the surface condenser water when a closed system is used? |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Effect of variable load on Power plant |  |
| b) | Engine starting system in I.C. engine power plant |  |
| c) | Necessity of Ash handling system |  |
| d) | De-aeration process |  |
| e) | Clarification of hydroelectric power plant |  |
| f) | Nuclear fuels |  |

***********