## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write short notes on possible pollution and general hygiene measures in the society and town. |  |
| b) | Short notes on role of a Public Health Engineer. |  |
| c) | What are the sources of water and criteria to select a source of water? |  |
| d) | Write short notes on rural water supply scheme. |  |
| e) | Enumerate the three classes of characteristics of water and any three characteristics under each class. |  |
| f) | Name any three water borne diseases. |  |
| g) | Describe any method to test color of water. |  |
| Q.No.2. | Answer any two: | 2 x 6 = 12 |
| a) | Name the five demands of water and indicate approximate value for each, for an average Indian town. |  |
| b) | - List out the precautionary measures to minimize losses & waste of water. - Write short notes on Gate valves, air valves, non-return valves. |  |
| c) | What are the four layout systems of water supply scheme? Explain briefly each with sketch. |  |
| Q.No.3. | Answer any three: | 3 x 4 = 12 |
| a) | Draw a neat sketch of a screen and explain in brief the function and types in a water treatment plant. |  |
| b) | Draw a neat sketch and explain any one type of aerator indicating the purposes. |  |
| c) c) | Draw and explain a rapid sand filter. ### OR Draw and explain the working of a circular sedimentation tank. |  |
| d) | Write short notes on break point chlorination, with a sketch/graph. |  |
| Q.No.4. | Answer any two: | 2 x 6 = 12 |
| a) | What are the types of pipes in a house plumbing work? Name any four fittings of pipes and any two specials and appurtenances in a building plumbing. |  |
| b) | Write clearly any 6 points, differentiating Water-carriage system from Conservancy system of sanitary disposal. |  |
| c) | Draw and explain with neat sketch, a typical manhole in a sewerage system. |  |

………2/-

-2-

| Q.No.5. | Answer any two: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Write short notes on grit chamber or detritus tank and sludge digester with sketches. |  |
| b) | What are traps? What are their functions? Show sketches of P, Q and S type traps. |  |
| c) | Write short notes on activate sludge process. |  |
| Q.No.6. | Answer any two: | 2 x 6 = 12 |
| a) | Draw a neat sketch showing a typical layout of house drainage system. Show positions of Inspection chambers & Interceptor. |  |
| b) | Write short notes on ‘Disposal methods of dry refuse’. |  |
| c) | Differentiate between rubbish, garbage and dry refuse. |  |

***********