## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-II(S-4216)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | How can a fiber optic transducer be used in measurement of level? Explain the principle, construction of any such measurement. |  |
| b) | Explain working principle, construction of absolute encoder. |  |
| c) | How are signal conditioning elements classified? Explain with examples. |  |
| d) | Explain the basic concept, input–output relationship and typical specifications of operational amplifier. |  |
| e) | Explain with examples the classification of data presentation elements. |  |
| f) | State the definition and explain significance of: i) Drift ii) Resolution. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working principle, construction and application of fiber optic transducer in temperature measurement. |  |
| b) | Explain the working principle, construction of moving magnet type transducer. How does it compare with moving coil type transducer? |  |
| c) | Explain measurement of force using Piezoelectric transducer. What are the modes of operation of Piezoelectric crystals? |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain Wheatstone Bridge circuit operation. Obtain its balance equation. How does its performance differ with AC/DC excitation? |  |
| b) | Write note on any one: i) Amplitude and frequency modulation ii) Filters. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write notes on any two: i)V to I converters ii) F to V converters iii) Rack and pinion gears. |  |
| b) | Write notes on any two: i) Differentiator ii) Buffer amplifier iii) Pneumatic type mechanical amplifier. |  |
| Q.No.5. | Explain the construction, working, typical specifications of any two of the following: i) Magnetic type recorders ii) Moving coil mechanism iii) Ultra Violet recorder. | (12) |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define the following terms and explain their significance in a measurement system: i) Threshold ii) Precision iii) Hysterisis. |  |
| b) | Explain the response of zero order, first order, second order system to step input. |  |
| c) | Write a note on: i) Coupling techniques ii) Types of errors. |  |

***********