## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is meant by Hematorit? |  |
| b) | What is colorimeter? |  |
| c) | Distinguish between serum & plasma. |  |
| d) | State the gases which are useful in sterilisation. |  |
| e) | Explain the process of sterilisation by radiation. |  |
| f) | Write a note on floating type of electrodes. |  |
| Q.No.2. | Explain the Automation of chemical tests in detail with a neat diagram. | (12) |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the Coulter method used to measure blood cell count. |  |
| b) | Write a short note on Auto clave. |  |
| c) | Explain in detail how a steamer is useful in sterilisation. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of flame photometer with a neat diagram. |  |
| b) | Explain the ‘Dark field method’ used for the measurement of blood cells. |  |
| c) | Write a note on pH electrode. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on testing of disinfection. |  |
| b) | Write a note on blood gas electrodes. |  |
| c) | Explain reference electrodes in detail. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State Lambert beer’s law. |  |
| b) | Write a short note on phenyl as a disinfectant. |  |
| c) | Write a short note on specific Ion electrode. |  |
| d) | Explain the skin surface electrodes. |  |

***********