## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Construction-V(4532)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Distinguish between pre-cast and cast-in-situ piles. |  |
| b) | State 3 advantages of using false ceiling in a room. |  |
| c) | State any 3 advantages of using Glass partitions. |  |
| d) | Give 3 advantages of Concrete partitions over Brick partitions. |  |
| e) | What do you mean by built in furniture? |  |
| f) | Compare between Elevators and Escalators. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A G+5 Hotel Building is to be constructed with a basement floor along the sea-front. What kind of foundation will you suggest for it and why? Sketch the plan and section of the same. |  |
| b) | Write the merits and demerits of timber pile. |  |
| c) | Draw the detailed plan and elevation of timber framed partition cladded with gypsum board. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | In a school building, a hall measuring 7m x 12m in plan is required to be divided into two classrooms. Suggest the partition wall for the same. Prepare necessary drawings of plan and elevation required for execution. |  |
| b) | Write a short note on concrete partition. |  |
| c) | Compare between partition wall and curtain wall. Give 3 points of each. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain decorative and open suspended ceilings. |  |
| b) | Differentiate between Plaster Of Paris and timber false ceiling. Give 3 points of each. |  |
| c) | Draw a detailed sketch of aluminum framed false ceiling cladded with gypsum board. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out the various types of soft wood and hard wood used in making built in cabinets. State the advantages of each type. |  |
| b) | Sketch the design for modular kitchen cabinet mounted with a granite platform for a residential house. Show all the details of the respective carpentry joints. |  |
| c) | Sketch the design in elevation and detailing of built in cupboard for a bedroom. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of a typical Escalator. |  |
| b) | Sketch and write a note on any three types of carpentry joints. |  |
| c) | Explain the construction and working of Capsule lift. |  |

***********