## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define accuracy and precision and state the difference between the two. |  |
| b) | Compare Moving Iron and Permanent magnet moving coil instruments. |  |
| c) | What do you mean by ‘Damping’ with respect to a measuring instrument? Why is it required? |  |
| d) | Which are the important coils in a dynamometer type of wattmeter? |  |
| e) | What do you mean by creeping in energy meters? How can it be prevented? |  |
| f) | How can you extend the range of a voltmeter using a instrument transformer? |  |
| g) | State classification of Resistances and mention the method of measurement for the same. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the different types of errors we come across in a measuring instrument. How can these be minimized? |  |
| b) | Explain the various operating forces on indicating instruments. |  |
| c) | Which are the various types of electric effects, on the basis of which measuring instruments are classified? (give one example of each) |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of simple block diagram explain the working principle of rectifier type instruments. List down its advantages. |  |
| b) | - What do you mean by loading effect in a voltmeter? How can it be taken care of? - How is damping torque produced in moving iron instruments? |  |
| c) | With the help of a neat diagram, explain the working of Permanent Magnet Moving Coil instrument. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss any four wattmeter errors. |  |
| b) | Explain measurement of power in 3 phase, 4 wire circuit. (Draw neat diagram) |  |
| c) | Describe the constructional details of an electrodynamometer type wattmeter. Explain why it is necessary to make the potential coil circuitry purely resistive. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | What are the various types of errors one comes across in Induction type energy meter? How can they be minimised? |  |
| b) | Briefly explain the constructional features and principle of operation of a single phase induction type energy meter. |  |
| c) | With the help of a neat diagram explain the Ammeter-Voltmeter method for the measurement of medium Resistances. What are the different errors that are encountered in this method? |  |
| d) | Explain clearly with the help of circuit diagram how can CT and PT be useful to extend the range of single-phase energy meter. |  |
| Q.No.6. | Write short notes on any two: | 2 x 6 = 12 |
| a) | Power factor meter (Single phase) |  |
| b) | Earth Tester |  |
| c) | Principle of working of ohm meter |  |
| d) | Extension of range by shunts and multipliers |  |

***********