## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | With a neat figure explain the working of a photomultiplier tube. |  |
| b) | What is infrared therapy? Mention its advantages. |  |
| c) | Explain piezoelectric transducer. |  |
| d) | Explain the difference between inverting and non-inverting amplifier. |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | What are photoelectric transducers? Explain in detail different types of photoelectric transducers. | (8) |
| b) | Write briefly on any two: - Microwave therapy - Principles of radiation therapy - Hyperbaric oxygen therapy. | 2 x 2 = 4 |
| Q.No.3. | Answer the following Questions: |  |
| a) | With a neat diagram explain the working of Geiger Muller counter. List the advantages and disadvantages of the same. | (8) |
| b) | Answer any two: - State uses of cryogenics in medicine. - What is CMRR? - Explain step function. | 2 x 2 = 4 |
| Q.No.4. | Answer the following Questions: |  |
| a) | Explain the working of rectilinear scanner with a neat diagram. | (8) |
| b) | Answer any two: - How can a capacitor be used as a transducer? - Explain Ultrasonic Therapy. - Write a note on ‘Isolation Amplifier’. | 2 x 2 = 4 |
| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain uses of heat and cold in medicine. |  |
| b) | Explain the working of Gamma Camera with neat diagram. |  |
| c) | What is a Fourier series? Explain briefly. |  |
| d) | Explain bonded strain guage with a neat diagram. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Nebulizers |  |
| b) | Operational Amplifiers in tandem |  |
| c) | Damped Resonant system |  |
| d) | Scintillation Detector |  |

***********