## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Compare continuous control and discreet state control. |  |
| b) | In which controller mode would you find neutral zone? What is its significance? |  |
| c) | Describe the smart sensor in a process control system. |  |
| d) | Draw symbols of the following switches used in ladder diagram: Physical limit switch, Pressure limit switch and Temperature limit switch. |  |
| e) | List different methods used for process loop tuning and explain one method. |  |
| f) | Explain direct digital control in brief. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the different methods used for event sequence description. Explain any one method with the help of an example. |  |
| b) | Give an example of a discreet state process control system and explain the working. |  |
| c) | Draw a ladder diagram to implement start with latch and stop of a lamp and explain the working. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a two position discreet controller mode with the help of process equation and graph. Discuss the suitability of this mode in applications. |  |
| b) | Explain the terms: Process lag, Reverse and direct action, Cycling. |  |
| c) | Suggest a composite controller mode suitable for fast process load changes where load change offset error is acceptable. Explain the working with help of process equation and graph. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of circuit diagram and equation explain the implementation of Proportional mode controller using Opamps. |  |
| b) | Explain the working of a pneumatic proportional integral controller with the help of a diagram. |  |
| c) | Draw the block diagram of Programmable Logic Controller and explain the functions of various blocks. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give examples of process control applications with independent single variable and interactive single variable and explain the working. |  |
| b) | Explain the working of a data acquisition system with the help of a block diagram. |  |
| c) | Explain the terms loop disturbance and optimum control. |  |

………2/-

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Give one example each and explain the function of: Signal converter, Actuator and control element. |  |
| b) | Describe any two types of control valves. |  |
| c) | Write short notes on Computer supervisory control, Loop disturbances. |  |

***********