## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Pressure in a chamber is to be maintained constant. Develop a block diagram showing elements of process control for above process. |  |
| b) | Explain any two control system evaluation criteria. |  |
| c) | Draw symbol of : i) Control relay ii) timber relay iii) Limit switch iv) Solenoid. |  |
| d) | What is meant by signal conversion? Specify any four such conversions. |  |
| e) | State two examples each of: i) Mechanical control elements ii) Electrical control elements iii) Pneumatic control elements. |  |
| f) | State four advantages of computer based controller over relay logic controllers. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the concept of discrete state process control with examples. What are the characteristic features of such a system? |  |
| b) | Example the concept of ladder diagram with an example. What is the difference between the interpretation of a physical ladder diagram and a programmable ladder diagram? |  |
| c) | Describe the features of programmable controller elements, with a typical example, showing programming. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of example, explain:- i) Process ii) Process load iii) Control lag iv) Dead time. |  |
| b) | With help of graph showing error and controller output variation and relevant expressions, explain the operation and features of single speed floating controller mode. |  |
| c) | Explain operation, characteristics of proportional controller mode, with graph and mathematical expressions. What is proportional band? Why is offset to be provided? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of block diagram, explain elements of final control operation. State example. |  |
| b) | Explain: i) any one electrical actuator ii) any one mechanical control element. |  |
| c) | Write note on: i) Loop disturbances ii) Process loop tuning. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of block diagram, explain features of a data logger. |  |
| b) | What are the features of computer supervisory control? How it differs from direct digital control? |  |
| c) | Explain: i) Multivariable alarms in process control ii) Alarm interlocking. | …….2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List advantages and drawbacks of each of the continuous controller modes. How does 3-mode controller overcome these? |  |
| b) | Draw schematic diagram and briefly explain the implementation of following controller modes using pneumatic devices: i) PD Controller ii) PI Controller. |  |
| c) | Draw schematic and briefly explain implementation of following controller modes using opamps: i) Proportional controller ii) Integral controller. |  |

***********