## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Architectural Engg.

Subject: Building Construction-I(AE105) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain two types of wall finishes. |  |
| b) | Sketch and label part section of a typical staircase showing its various components. |  |
| c) | Give graphical representation for stone, brick and rubble packing. |  |
| d) | Mention the equipments required by the mason and his helper for erecting a brick wall with cement mortar. |  |
| e) | Explain Stretcher Bond with sketches. |  |
| f) | Explain different types of roofs with sketches. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch section of wall through window showing all the various components from footing up to the roof. |  |
| b) | With respect to material, give sketches and explain various types of lintels. |  |
| c) | Draw plan and section of wall foundation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give graphical representation of 6 different types of building materials and their use in construction. |  |
| b) | Explain advantages of load bearing and framed structure with sketches. |  |
| c) | Explain 6 types of workers required and their jobs on a construction site. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Name any 6 equipments used on site giving their function. |  |
| b) | Draw neat sketches with labelling showing plan and elevation of two consecutive courses of 1½ brick thick wall in English Bond at a right angled corner. |  |
| c) | Sketch and explain 3 different types of arches. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw neat sketches with labelling, showing plan and elevation of two consecutive courses of 1½ thick brick wall in Flemish Bond at T-junction. |  |
| b) | Explain the term ‘Bearing capacity of soils’. |  |
| c) | Explain with sketches ‘Header Bond’. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Define the following with sketches: i) Header ii) Queen closer iii) Bat iv) Brick. |  |
| b) | What are the general principles observed in Brick Masonry construction? |  |
| c) | State 2 types of wall finishes and reasons for using them. |  |
| d) | List out various types of openings with sketches. |  |

***********