## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Mechanical Engg./FT/A/SB/MNE

Subject: Elements of Electrical & Electronics Engg.(CS302)[Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the following: (i) Average value (ii) R.M.S. value of an a.c. wave. |  |
| b) | Why earthing is necessary? |  |
| c) | Draw the symbols of the following: i) Switch Fuse Unit ii) Fuse Switch unit. State their functions. |  |
| d) | State the method used for reversal of direction of rotation of d.c. shunt motor. |  |
| e) | Name the starters used in three phase Induction motor starting. Also clearly indicate the type of three phase Induction motor for which each starter is used. |  |
| f) | Give two points of distinction between Intrinsic semiconductor & Extrinsic semiconductor. |  |
| g) | State any three applications of a transistor. What is the relationship between emitter current, base current and collector current? |  |
| Q.No.2. | Answer any two of the following: | 2 x 6 = 12 |
| a) | State the types of conduct wiring system. Also state any 2 advantages and 2 disadvantage of each of the type of such wiring system. |  |
| b) | State any three methods used for laying of underground cables used for distribution system. Also list out the specifications of PVC insulated cable. |  |
| c) | Give three points of distinction between rewirable fuse and HRC fuse with respect to its breaking capacity, applications and method used for replacement or rewiring. State the functions of MCB and ELCB |  |
| Q.No.3. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Give two points of distinction between the following: - MCB & MCCB - Switch Fuse unit & Fuse Switch unit. |  |
| b) | State the important features of a limit switch. Also give its two applications. |  |
| c) | Give the constructional features of an HRC Fuse of your choice. |  |
| Q.No.4. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain in brief the wiring principle of a single phase transformer with the help of neat diagram. |  |
| b) | Define voltage regulation and efficiency of a transformer. Also state the expressions for e.m.f. induced in primary as well as secondary winding of a transformer, indication clearly each term used in the expression. |  |
| c) | State the important parts of a d.c. motor. Also state their important constructional features and function of each. |  |
| d) | State the significance of KVA rating of transformer. | …….2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain in brief working principle of an alternator with the help of neat diagram. |  |
| b) | What is the necessity of starter in a three phase Induction motor? How do you reverse the direction of rotation of a 3 phase induction motor? |  |
| c) | Draw the symbols of following Gates and give their truth table: i) NAND ii) NOT iii) EXOR. |  |
| d) | Convert the following number to binary: 52.96. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the circuit diagram of a single phase full wave rectifier with center tapped transformer. Also draw its Input voltage and output voltage waveform. Also state the expression for its d.c. output voltage and d.c. output current for operating resistive load. |  |
| b) | Explain in brief the working of a transistor with the help of neat circuit diagram. |  |
| c) | Explain in brief the working of a PN diode with the help of neat circuit diagram. |  |

***********