## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(4110)

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Classify the faults & state frequency of their occurrence in a 3 transmission. |  |
| b) | State any 3 points to be considered in selection of a fuse. |  |
| c) | Define & explain cut off current & breaking capacity of a fuse. |  |
| d) | What is a Circuit Breaker? State the ratings of a Circuit Breaker. |  |
| e) | Define Main & Back up protection & Through fault. |  |
| f) | Define the following terms for a Circuit Breaker: i) Arc Voltage ii) Restriking Voltage iii) Recovery Voltage. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the purpose of using current limiting reactors in a power system? State the different types & their location in power system. |  |
| b) | Differentiate between a fuse & a Circuit Breaker. |  |
| c) | State the various methods of Arc extinction & hence explain the various methods of Arc extinction in an AC Circuit Breaker. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain construction & working of Cross-jet explosion pot oil Circuit Breaker. |  |
| b) | Explain the principle of arc extinction in SF6 Circuit Breaker |  |
| c) | With a neat diagram explain operation of ELCB. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat labelled diagram explain construction & operation of Directional power relay. |  |
| b) | State & explain fundamental requirements of Protective Relaying. |  |
| c) | Explain merits & demerits of static relays over electromagnetic relays. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain differential protection of Busbars. |  |
| b) | Write a short note on ‘Distance protection of transmission lines’. |  |
| c) | Write a short note on IDMT relay. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain balanced earth fault protection of Alternators. |  |
| b) | Explain the different types of faults that may occur in an alternator. |  |
| c) | With a neat diagram explain combined leakage & overload protection of transformers. |  |

***********