## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg.

Subject: Energy Management(5108)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the factors which decide quality of incoming supply. |  |
| b) | List the benefits of Energy conservation to industries. |  |
| c) | Draw and explain system resistance curves for pumps. |  |
| d) | What is soft starter? State its advantages. |  |
| e) | What is colour rendering index? Briefly explain its importance in selection of Lamps. |  |
| f) | List any three ways by which efficiency of transformer can be improved. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is Load curve? With a neat diagram explain importance of flattening of Load curve. Explain any one method. |  |
| b) | What is detailed Energy Audit? Explain methodology employed for detailed Energy Audit. |  |
| c) | State the strategies that can be used to meet future challenges to energy security. Explain the need for such strategies. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A factory has a maximum Load of 240 KW at 0.8 pf lagging with an annual consumption of 50,000 units. The tariff is Rs.50 per KVA maximum Demand plus 10 paise per unit. Calculate the flat rate of energy consumption. What will be annual saving if pf is raised to unity? |  |
| b) | What is power factor? State the advantages of improving power factor. How is it done? |  |
| c) | Explain the step by step approach for maximum Demand control. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the procedure for determination of pump efficiency? |  |
| b) | Explain step by step method for assessing Energy efficiency of Lighting system. |  |
| c) | Explain the different watt loss areas of motor and modifications required for improving efficiency of motor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the role of ballast in Tube light circuit? Explain how electronic ballast saves energy and improves light output. |  |
| b) | Explain the concept of VFD. Lit its advantages. |  |
| c) | Briefly explain the working of Maximum Demand Controller. |  |
| d) | Explain various methods for determining motor loading. |  |
| Q.No.6. | Write short notes on any two: | 2 x 6 = 12 |
| a) | Automatic power factor controllers |  |
| b) | Objectives and basis for differential structure of Tariff |  |
| c) | Energy Audit measuring Instruments |  |
| d) | Demand curve and calculation of maximum Demand |  |

***********