## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg.

Subject: Illumination Engineering(5106)

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain “Stroboscopic effect” in artificial lighting. State two ways of eliminating it in fluorescent lighting. |  |
| b) | Define the following terms: i) M.H.S.C ii) M.S.C.P iii) M.H.S.C.P. |  |
| c) | Define the following terms: i) Luminous flux ii) Luminous intensity iii) Illumination. |  |
| d) | Define the following terms: i) L.O.R ii) D.L.O.R iii) V.L.O.R. |  |
| e) | State any three important features of corridor lighting. |  |
| f) | Write a short note on space to mounting height ratio. |  |
| g) | Explain “specular reflection principle” in the design of street lighting installation. |  |
| h) | State any three important features of monument lighting. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain different types of lighting schemes. |  |
| b) | With the help of neat diagram explain the difference between semi direct and Semi indirect lighting system. Also list their applications. |  |
| c) | Write a short notes on i) Types of glares ii) C.R.I. (Colour Rendering Index). |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram, state and explain Lambert Cosine law. |  |
| b) | For a fluorescent tube mounted at a height of ‘H metres’ from the working plane and having luminous intensity of Io candles per metre length of the tube and for an aspect angle  specified in radians, state the expression for i) Illumination level at a point on working plane which is exactly below one of the edges of a Tube. ii) Illumination level at a point on working plane, which is exactly below centre of a Tube. iii) Illumination level at a point on the working plane, which is located far away from one end of the Tube. |  |
| c) | A lamp of 500 watts having mscp of 1000 is suspended 2.7 metres above the working plane. Calculate: - Illumination directly below the lamp at the working plane - Lamp efficiency - Illumination at a point 2.5 metres away on the horizontal plane from vertically below the lamp. |  |

………2/-

-2-

| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | - Explain what is coefficient of utilization? What are the factors on which it depends? - State the expression for calculating Room index in Indoor lighting. |  |
| b) | Write a short notes on i) Maintenance factor ii) lamp lumen method of lighting calculations. |  |
| c) | An illumination on the working plane of 75 lux is required in a room 72 m x 15 m in size. The lamps are required to be hung 4 m above the workbench. Assuming a suitable space-height ratio, a utilization factor of 0.5, a lamp efficiency of 14 lumens per watt and a candle power depreciation of 20%. Estimate the number, rating and disposition of lamps. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different types of arrangement for siting of luminaires and give application of each. |  |
| b) | - State the criteria for good street lighting. - Explain how street lighting is different from indoor lighting. |  |
| c) | - What are the requirements of vehicle driver? - State any three important features of hospital lighting. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain for flood lighting i) Waste light factor ii) Coefficient of utilization iii) Depreciation factor. |  |
| b) | - State the types of lamps used in flood lighting. - Write a short note on ‘Mounting of flood light projectors’. |  |
| c) | A building frontage 50 m x 15 m is to be illuminated by Flood light projectors situated 25 m away from it. If Illumination level is 100 lux, cou is 0.5, depreciation factor as 1.5 and waste light factor as 1.2. Estimate the number and size of each projector used. Also sketch the projectors layout indicating the usual adjustment provided. |  |

***********